# Internal Audit Plan 2024

Compliance to ISO/IEC 17025:2017

Doc Ref: IAP-2024-01
Date: Jan 15, 2024
Page 1 of 3

Laboratory Name

[Insert Lab Name Here]

Lead Auditor

[Insert Name]

Audit Criteria

ISO/IEC 17025:2017, Management System

Audit Dates

Planned: June 10-14, 2024

## 1. Audit Objectives

To verify that the management system conforms to the requirements of ISO/IEC 17025:2017 and the laboratory's own requirements, and is effectively implemented and maintained.

## 2. Annual Audit Schedule 2024

| Month | Clauses / Activity | Auditor | Status |
| --- | --- | --- | --- |
| Q1 (Jan-Mar) | Clause 4 (General), Clause 5 (Structural), Clause 8.2-8.4 (Docs) | Team A | Done |
| Q2 (Apr-Jun) | Clause 6 (Resources, Equipment, Traceability) | Team B | Pending |
| Q3 (Jul-Sep) | Clause 7 (Process, Methods, Sampling, Reports) | Team A | Pending |
| Q4 (Oct-Dec) | Clause 8.5-8.9 (Risks, Improvement, Mgmt Review) | Lead | Pending |

## 3. Vertical Audit Plan (Witnessing)

| Test Method / Activity | Staff to be Audited | Time |
| --- | --- | --- |
| Sample Receipt Process | Reception Staff | 09:00 |
| pH Determination (SOP-01) | John Doe | 10:30 |
| Data Analysis & Reporting | Jane Smith | 14:00 |

# Internal Audit Checklist

ISO/IEC 17025:2017

Page 2 of 3

| Requirement / Question | Y/N | Objective Evidence / Comments |
| --- | --- | --- |
| 6. Resource Requirements |  |  |
| 6.2.5: Are personnel authorized for specific lab activities? |  | Check competency matrix. |
| 6.3.3: Are environmental conditions monitored and recorded? |  | Check temp logs. |
| 6.4.6: Is equipment calibrated and labeled? |  | Check balance stickers. |
| 7. Process Requirements |  |  |
| 7.2.1.5: Is Method Verification performed before use? |  | Review verification report 001. |
| 7.4.1: Is sample transportation and storage suitable? |  |  |
| 7.6.1: Is measurement uncertainty evaluated? |  | Check uncertainty budget. |
| 7.7.1: Is validity of results monitored (QC/PT)? |  | Check control charts. |

## 4. Audit Findings Summary

Strengths:

Non-Conformities (NCs):

Opportunities for Improvement (OFIs):