| LAB LOGO | QUALITY MANUAL Level 1 Document | Doc No: QM-001 Rev: 01 Date: Jan 2024 |
| --- | --- | --- |

# Quality Manual

In accordance with ISO/IEC 17025:2017

Laboratory Name: [Insert Lab Name]

Address: [Insert Lab Address]

Authorization

This Quality Manual is the highest-level document in our management system. It is approved by Top Management and is mandatory for all staff.

Prepared By: Quality Manager
Name: [Name]

Approved By: Laboratory Director
Name: [Name]

## 1. Scope

This manual documents the management system of [Lab Name]. It covers all testing/calibration activities performed at the permanent facility, at sites away from the permanent facility, or in associated temporary or mobile facilities.

## 2. Normative References

ISO/IEC 17025:2017 - General requirements for the competence of testing and calibration laboratories.

## 3. Terms and Definitions

Terms used in this manual align with ISO/IEC 17000 and VIM (International Vocabulary of Metrology).

## 4. General Requirements

### 4.1 Impartiality

The laboratory conducts its activities impartially. We identify risks to impartiality on an on-going basis. Laboratory management is committed to impartiality and ensures that commercial, financial, or other pressures do not compromise the quality of work.

### 4.2 Confidentiality

The laboratory is responsible for the management of all information obtained or created during the performance of laboratory activities. We inform the customer in advance of the information it intends to place in the public domain.

## 5. Structural Requirements

The laboratory is a legal entity (or a defined part of a legal entity) that is legally responsible for its laboratory activities.

### 5.5 Organizational Structure

The organization and reporting lines are defined as follows:

[Insert Organization Chart Here in Word or Paste Image]

The laboratory defines and documents the range of laboratory activities for which it conforms with this document. We only claim conformity with this document for this range of laboratory activities, which excludes externally provided laboratory activities on an ongoing basis.

## 6. Resource Requirements

### 6.2 Personnel

All personnel, either internal or external, that could influence the laboratory activities shall act impartially, be competent, and work in accordance with the laboratory's management system.

### 6.3 Facilities and Environmental Conditions

The facilities and environmental conditions shall be suitable for the laboratory activities and shall not adversely affect the validity of results.

### 6.4 Equipment

The laboratory has access to equipment (including but not limited to measuring instruments, software, measurement standards, reference materials, reference data, reagents, consumables, or auxiliary apparatus) that is required for the correct performance of laboratory activities.

### 6.5 Metrological Traceability

We establish and maintain metrological traceability of our measurement results by means of a documented unbroken chain of calibrations, each contributing to the measurement uncertainty, linking them to an appropriate reference (SI Units).

## 7. Process Requirements

The laboratory uses the following process flow for all testing/calibration activities:

- 7.1 Review of Requests: Contracts are reviewed before work begins.

- 7.2 Method Selection: We use appropriate methods and verify them before use.

- 7.3 Sampling: (If applicable) Sampling plans are based on statistical methods.

- 7.4 Handling Items: Samples are protected from deterioration or loss.

- 7.5 Technical Records: Original observations are recorded to allow traceability.

- 7.6 Measurement Uncertainty: Contributions to uncertainty are evaluated.

- 7.7 Validity of Results: Results are monitored via QC and Proficiency Testing.

- 7.8 Reporting: Reports are reviewed and authorized before release.

- 7.9 Complaints: A documented process exists to handle complaints.

- 7.10 Non-Conforming Work: Work is halted when it does not conform to procedures.

- 7.11 Data Control: LIMS and software are validated and protected.

## 8. Management System Requirements

The laboratory has established, documented, and maintains a management system that is capable of supporting and demonstrating the consistent achievement of the requirements of ISO/IEC 17025 (Option A).

### 8.2 Management System Documentation

Top management has established, documented, and maintains policies and objectives for the fulfillment of the purposes of this document and ensures that the policies and objectives are acknowledged and implemented at all levels of the laboratory organization.

### 8.5 Actions to Address Risks and Opportunities

We consider the risks and opportunities associated with the laboratory activities in order to give assurance that the management system achieves its intended results.

### 8.6 Improvement

The laboratory identifies and selects opportunities for improvement and implements any necessary actions.

### 8.7 Corrective Actions

When a nonconformity occurs, the laboratory reacts to the nonconformity and evaluates the need for action to eliminate the cause(s) (Root Cause Analysis).

### 8.8 Internal Audits

We conduct internal audits at planned intervals to provide information on whether the management system conforms to the laboratory’s own requirements and the requirements of this document.

### 8.9 Management Reviews

Top management reviews the laboratory's management system at planned intervals (at least annually) to ensure its continuing suitability, adequacy, and effectiveness.